{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Results"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Results","index":0,"n_rows":18,"n_cols":19,"rows_kept":18,"flags":["formulas_cached_only"]}
["Block Type","96fast"]
["Chemistry","TAQMAN"]
["Experiment File Name","D:\\Liz\\6th June 2012 Q922 Q922.eds"]
["Experiment Run End Time","2012-06-06 15:26:29 PM BST"]
["Instrument Type","sds7500fast"]
["Passive Reference","ROX"]
[]
["Well","Sample Name","Target Name","Task","Reporter","Quencher","Cт","Cт Mean","Cт SD","Quantity","Quantity Mean","Quantity SD","Automatic Ct Threshold","Ct Threshold","Automatic Baseline","Baseline Start","Baseline End","Comments","HIGHSD"]
["A1","","ABL","STANDARD","FAM","TAMRA",18.7136173248291,18.843948364257812,0.18431591987609863,1000000,"","",false,0.1,false,3,15,"","N"]
["A2","","ABL","STANDARD","FAM","TAMRA",18.974279403686523,18.843948364257812,0.18431591987609863,1000000,"","",false,0.1,false,3,15,"","N"]
["A3","H1/12 Green","ABL","UNKNOWN","FAM","TAMRA",24.334543228149414,24.339675903320312,0.007257350254803896,22597.177734375,22517.724609375,112.36368560791016,false,0.1,false,3,15,"","N"]
["A4","H1/12 Green","ABL","UNKNOWN","FAM","TAMRA",24.344806671142578,24.339675903320312,0.007257350254803896,22438.271484375,22517.724609375,112.36368560791016,false,0.1,false,3,15,"","N"]
["A5","H1/12 Green","BCR ABL","UNKNOWN","FAM","TAMRA",35.99081802368164,36.91590881347656,1.3082759380340576,7.967537879943848,5.137463569641113,4.0023298263549805,false,0.1,false,3,15,"","Y"]
["A6","H1/12 Green","BCR ABL","UNKNOWN","FAM","TAMRA",37.840999603271484,36.91590881347656,1.3082759380340576,2.3073890209198,5.137463569641113,4.0023298263549805,false,0.1,false,3,15,"","Y"]
["A7","H2/12 Brown","ABL","UNKNOWN","FAM","TAMRA",24.56055450439453,24.443586349487305,0.16541795432567596,19344.7890625,21032.71875,2387.094482421875,false,0.1,false,3,15,"","N"]
["A8","H2/12 Brown","ABL","UNKNOWN","FAM","TAMRA",24.326618194580078,24.443586349487305,0.16541795432567596,22720.650390625,21032.71875,2387.094482421875,false,0.1,false,3,15,"","N"]
["A9","H2/12 Brown","BCR ABL","UNKNOWN","FAM","TAMRA","Undetermined","","","","","",false,0.1,false,3,15,"","N"]
["A10","H2/12 Brown","BCR ABL","UNKNOWN","FAM","TAMRA","Undetermined","","","","","",false,0.1,false,3,15,"","N"]